1.  CLIA Policy and Procedure

The purpose of this policy to maintain OSHA standards when performing in-office testing.

This office is certified to perform CLIA-waived tests.

The definition of a CLIA-waived test is simple and has a low risk for incorrect results.  However, this does not mean CLIA-waived tests are error-proof.  The testing needs to be performed correctly by trained personnel and with good testing practices.

CMS can inspect any office at any time if a complaint is filed, if there is no Certificate of Waiver, if there is a risk of harm due to inaccurate testing.  These are the most common reasons for an inspection.

In order to be complaint with OSHA regulations, this office will follow the following procedures as a CLIA-waived office:

Keep a clean environment following OSHA regulations.

Follow the manufacturer’s instructions for testing and keep a copy of testing instructions for every CLIA-waived test performed.

Monitor tests for expirations dates every 6 months.

Follow safety precautions when testing per OSHA standards (blood borne pathogens).

Document training in staff personnel files.

Follow manufacturer’s instructions for Quality Control testing  and document date of testing in a log.

Testing will be performed only with a physician’s order.

Personnel will follow the instructions for testing of the patient, explain the test to the patient, collect the sample following OSHA regulations and properly label the sample.

Follow OSHA bloodborne pathogens guidelines and office policy when collecting samples.

Dispose waste following Biohazard Waste Disposal Policy (per federal, state and local requirements).

Perform the test.

Report the results to the patient.

Record the results in patient’s chart and/or using other documentation measures.

For a more in-depth example of CLIA Policy and Procedure for an office, click on the link below:

www.bvcaa.org/HSPP/Clinical%20P&P/.../Laboratory%20Practice%20Guidelines.pdf