4.  Suggested Emergency Kits/Carts Contents

All emergency drugs and supplies should be kept together in a kit that is easily moveable and readily accessible/visible in the office.  Inventory should be checked with documentation of medication expiration dates and inspection of the working condition of the equipment.

Minimum Medication(s)

    - Epinephrine 1:1000, 1 ml (2 ampules)

    - Diphenhydramine 50 mg/mL (2 ampules)

    - Diphenhydramine elixir/solution 12.5 mg/5 mL (1 bottle)

    - Diphenhydramine HCl 25 mg caps (1 bottle)

    - Portable oxygen (generally administered 15 L/ min by non-rebreather      mask in situations of chest pain or difficulty breathing or by nasal cannula at 2 L/ min if client has history of emphysema or chronic lung disease).

Minimum Supplies

    - Bag-valve-mask (AMBU) for resuscitation (Infant/Child/Adult )

      - Nasal cannula for oxygen administration

      - Needles and syringes

      - IV needles/infusion sets

    - IV fluids (normal saline is recommended)

      - Gauze pads, tape

    - Oral airways (Adult/Child/Infant)

    - Pulse-oximeter

      - Automated external defibrillator (AED)

    - Accucheck/strips

    - Portable Suction

    - Non-rebreather mask (Adult/Child/Infant)

    - Epinephrine Auto-injector 0.15 mg (3 doses)

    - Epinephrine Auto-injector 0.3 mg (3 doses)

    - Dextrose